Compulsory Houseboat Inspection Report

Part One - Assessment Summary

GMW licence number: CB...............	Registration number: ...............	Mooring: .......……………….

Owner …………………………………………… 	Boat name ……………………………………….

Owner’s address...................................................................................................………………………….

Phone ………………………….	Fax ……………………………	Email ……………………………...

Enclosed levels …………………..

Boat length ……………..………...       metres	(most extreme fore & aft point – cabin/pontoon)

Boat width ………..……………….       metres	(most extreme starboard & port – cabin/pontoon)

Walkways ………...…   mm x ……………mm

Duckboard …………...  mm x ……………mm

Ski platform ………….. mm x ….………   mm

Location of ski platform		Port side		Starboard side

The following items have been inspected by a “Competent person” for GMW compliance with the Lake Eildon Houseboat Regulations 2003.

(Please mark).

	Sewerage system		Motor (no fuel leakage) 		Fuel storage

This Houseboat does/does not comply.

	No further action

	Repairs required (as listed in Part Three) and owner to be notified by Goulburn Murray Water

Signature of competent person............................................................................ 	Date...../....../.....

Name of competent person.......................................................................................................................

Address..................................................................................................................

…………………………………………………………………………..

This Compulsory Houseboat Inspection Report (“Report”) has been prepared for the sole benefit of Goulburn Murray Water for its internal purposes. It is not intended that this Report be used by any other party for any purpose whatsoever and the Competent Person whose name appears above will not be liable for loss suffered by a third party as a result of reliance upon this Report.

Part Two – Inspection Report

Waste tank material …………………………..	Waste tank location ………………………………

# Pontoons

Age of pontoons…………	Date last painted ………………	Coating ………………………………

Port pontoon:

Number of sealed bulkheads ………………..	Open bulkheads …………………….

Starboard pontoon:

Number of sealed bulkheads ………………..	Open bulkheads …………………….

Ballast material & volume ……………………………………

Use (√) for satisfactory and (X) for unsatisfactory in first inspection column. The 2nd inspection column deals with problems that have been fixed and will have a (√) for satisfactory.

Sewerage System	1st	2nd

Waste tank corrosion 			.....................................................

Waste tank splits/leaks			.....................................................

Tank mounted brackets			.....................................................

Suction & suction lines			.....................................................

Vent/flush & lines (must have airtight cap)			.....................................................

Inlet flanges  			.....................................................

Clamps/clips for sealing (non-corrodible)				.....................................................

Waste outlet height above toilet bowl (1)			.....................................................

Waste tanks to have vents and flush points			.....................................................

Tank ventilation lines (2)			.....................................................

Guarding of exposed tanks (3)			.....................................................

Test tank for leaks (including ventilation)			.....................................................

Pontoon - sewage storage 			.....................................................

Fuel Tank

Corrosion			.....................................................

Splits/leaks			.....................................................

Fuel inlet/outlet connections			.....................................................

Mounting brackets			.....................................................

Fuel lines - leaks 			.....................................................

Pontoon - fuel storage			.....................................................

Exterior tank & hoses guarded			.....................................................

Vent above fill height			.....................................................

Bilge

Inspect pod/bilge for fuel, oil & coolant leaks			.....................................................

# LPG Installation

Gas storage and plumbing complies with

Plumbing Code			.....................................................

Gas fitting notice number

Note:

Waste tanks to be constructed from suitable stainless steel, marine grade aluminium, PVC or fibreglass.

Internal connections must be in accordance with the appropriate plumbing codes.

Pontoons being used as fuel storage will not be accepted and fuel storage tanks will need to be installed.

Vacuum or smoke test for leaks in fuel tanks located in pontoons and not readily accessible.

Visual inspection of pontoons and assessment that pitting or corrosion is not more than 50% of original steel.

Footnotes:

- Waste outlet height requirements do not apply to the second storey of a two-storey houseboat.

- Ventilation line (minimum 38mm) must be higher than the toilet bowl.

- Leading guard to be fitted to the front and bottom of all sewerage tanks suspended underneath the houseboat and exposed to potential damage. Minimum 2.5mm flat plate steel to be used.  If the outlet line is exposed on the bottom of the tank it should be protected as well.

Part Three – Required Repairs

The following repairs need to be carried out on this houseboat as it currently breaches GMW bylaws and/or Regulations. In accordance with these Regulations the owner will be notified in writing by Goulburn Murray Water and given seven days to affect these repairs or remove the houseboat from Lake Eildon.

Repairs required ....................................................................................................………………………..

...........................................................................................................................……………………………

...........................................................................................................................……………………………

...........................................................................................................................……………………………

...........................................................................................................................……………………………

...........................................................................................................................……………………………

...........................................................................................................................……………………………

...........................................................................................................................……………………………

Part Four - Repairs

- The required repairs listed in Part Four have been completed

Method of pontoon cleaning ………………………………………………………………………………...

Paint coating applied ……………………………………………………………………………………….

Name of repairer.............................................................................

Address of repairer....................................................................................................................

……………………………………………………………………………

This Report is to be forwarded to:

Goulburn Murray Water

19 High Street

EILDON   VIC 3713

Phone:	03 5774 3900

Part Five – GMW Use Only

	Date received by G-MW	Initials...............	Date....../....../......

	Owner Notified of repairs (if any)	Initials...............	Date....../....../......

	Repairs Completed	Initials...............	Date....../....../......

	Repairs inspected by G-MW	Initials ..............	Date....../....../......

	Service amended	Initials ..............	Date....../....../......

| COMPETENT PERSON - APPOINTMENTS FOR HOUSEBOAT SLIPPING PROGRAM |  |  |  |
| --- | --- | --- | --- |
| Competent Person | Location | Phone | Current |
| Robin Bayly-Jones (B-J) | Lake Eildon Marina | 0425 820 806 | Current |
| Rod Edwards | Edwards Built Houseboats | 0427 837 385 | Current |
| Rod Harland |  | 0491 459 416 | Current |
| Tony Keddell | Eildon Outboard Service | 03 5774 2132 | Current |
| Peter McKernan | PRM Engineering P/L | 03 5773 2436 | Current |
| Darren Withoos | Status Houseboats | 0418 320 673 | Current |

Goulburn-Murray Water protects the privacy of its customers by providing customer information in accordance with the Victorian Information Privacy Act 2000. For further information regarding Goulburn Murray Water’s privacy statement please refer to our website at www.g-mwater.com.au.